PH 481			Physical Optics				Winter 2010

Laboratory #7		Week of February 21

Read:	pp. 363-372 of "Optics" by Hecht and pp.147-152 from the BYU book (see a link at   our course website)

Do:	1.  Experiment VII.1:  Fabry-Perot Interferometer: find Finesse using  of NaD

2.  Experiment VII.2:  Fabry-Perot Interferometer: Mercury doublet

Experiment VII.1: Fabry-Perot Interferometer: find Finesse using  of NaD

The goal of this lab is to familiarize yourself with the Fabry-Perot Interferometer, to align it properly, and to measure the finesse using the sodium doublet.  The figure below shows a schematic of the Fabry-Perot Interferometer you will use.  As with the Michelson Interferometer, you will use both a laser and a lamp source.  Be sure to use a target when using the Helium-Neon laser.  Do not under any circumstances look into the interferometer output when using the laser (even though you will do this when using the lamp sources).

To align the interferometer, first adjust the two turning mirrors so the laser beam is parallel to the table top (at an approximate height of 13.5 cm) and parallel to but in between the two sets of holes that lead toward the interferometer.  This should place the laser beam approximately in the middle of the mirrors.  Adjust the fixed mirror so that the reflection returns nearly directly back to the laser.  There should now be a streak of reflected spots on the target.  Adjust the movable mirror so that the streak collapses to a single spot.  At this point you may already notice some interference fringes.  To make things more clear, convert the parallel laser input beam into a diverging beam (i.e., a point source) by inserting a diverging lens (-25 mm works well) in front of the interferometer.  You should then see a set of concentric circles (a bull's eye pattern). These are the fringes formed by the interference of the multiple beams that are reflected back and forth between the two mirrors of the interferometer.  Slight adjustments of the interferometer mirrors will allow you to center this pattern.

The Fabry-Perot interference pattern obeys the same equation as the pattern in the Michelson Interferometer:

,

where d is the spacing of the two mirrors.  The new aspect of this interferometer is that multiple beams produce the interference pattern rather just two as was the case for the Michelson Interferometer.  This results in sharper fringes.  The Michelson fringes were sinusoidal, whereas the Fabry-Perot transmission fringes obey the Airy function equation:

,

where F is the finesse (not to be confused with the coefficient of finesse) and  is the phase shift which is given by  = 2kdcosThe sharp fringes mean that there will be no washout when viewing fringes from the sodium lamp.  Rather, you will clearly see two sets of rings except when they are almost exactly overlapping.  The finesse is the ratio of the fringe spacing to the fringe width.  You can quote the spacing and width in many different ways, e.g., in terms of frequency, wavelength, phase shift, or fringe number.  If we call the fringe width  in terms of the fringe number (i.e., the fringe spacing is 1), then the finesse is simply F = 1/.

If the fringes from two different wavelengths (e.g., the sodium doublet) overlap at the center (=0) exactly, then

.

If we now change the mirror spacing until we can just resolve the two fringes, then the fringes will be separated by the resolution of the instrument.  For a Fabry-Perot, the resolution is approximately the fringe width.  Thus if we go from a spacing d' where the fringes are just resolved, through the overlap position d to the next spacing d'' where the fringes are just resolved, then we can write:

,

where N is the number of fringes we count between d' and d''.  If we keep going in the same direction until the fringes just start to become unresolvable again (i.e., fringes look just like d' case), then we can write

,

where d''' is the new spacing and Nm is the number of fringes between adjacent overlaps of the two fringe patterns.  The extra 1 comes from the same reasoning we used in the Michelson case (one set goes one more fringe than the other).  From taking differences of these equations we can derive an equation for the finesse:

.

Thus we only need to count fringes or measure the distances that the stage moves to find the finesse.

To measure the finesse, use the sodium lamp in place of the laser.  A piece of frosted or ground glass in front of the lamp will help to reduce the intensity and will also provide a uniform background against which to view the fringes.  A small value of d will provide a larger pattern, which makes the experiment simpler.  However, be very careful not to get close enough for the mirrors to touch.  These mirrors are quite expensive.  The micrometer motion is probably sufficient for this experiment.  You can use the stepper motors without calibration since you result depends on the ratio of two distances or fringe number.  Estimate the error of your measurement.

Experiment VII.2: Fabry-Perot Interferometer: Mercury doublet

In this experiment you will measure the separation of a pair of lines in the mercury spectrum.  The mercury lamp emits many different spectral lines, but you will mostly see the yellow lines since they fall within the range of wavelengths that these mirrors reflect (they are designed for Helium-Neon lasers at 633 nm).  We also have some filters to select out the yellow lines;there use will make life easier.  The mercury lamp also emits ultraviolet light, so be careful to keep the glass on the front of the lamp (the glass absorbs the UV light) to avoid giving your eyes a sunburn (quite painful).

The measurement of the line splitting  is almost identical to the sodium measurement with the Michelson Interferometer.  However, with the Fabry-Perot there will be no washout since the fringes are so sharp.  In this case, it is easier to determine the position of the fringe overlap.  Again, go through several of these overlaps to get your final measurement and estimate the error.  The mean wavelength of this doublet is 578 nm.  (1 = 576.96 nm, 2 = 579.07 nm, CRC p. 10-57).

Equipment needed:

Item	Qty	Source (part #)

Helium-Neon Laser	1	Melles Griot 05 LHP 121

Al mirror	2	Newport 10D10ER.1

Polarizer	2	Edmund A38,396

-25 mm lens	1	Newport KPX043

Sodium vapor lamp	1

Mercury vapor lamp	1

Mercury line filter	1	Oriel

Stepper motor	1	Hurst SAS

Stepper motor controller	1	Hurst EPC-015

3 finger clamp	1	Chem stores

Magnetic base	1	Thor Labs MB175

Power supply	1	Tektronix CPS250

Fabry-Perot hardware

Platform	1	Thor Labs (special)

Mounting posts	4	Thor Labs P3

Translation stage	1	Newport 461

Mirror mount	2	Thor Labs KM1

Riser block	1	Thor Labs RB2

Base plate	1	Thor Labs BP2

He-Ne mirrors	2	CVI